## Slide 1
Team Black Frog: An improved design for a portable medical-grade refrigeration system
Barath Sundaravadivelan, Jayasreedat Tangella, Lalith Sai Madhav Rayala, Mason Keck, Surya Sudarsan Naveen Ravula

## Slide 2
Team Black Frog: An improved design for a portable medical-grade refrigeration system
Background
Source: https://www.blackfrog.in/how_it_works
Solid State Peltier Cooler
Seebeck effect
Motive
Improved Efficiency
Improved Design
By passive cooling the hot side of the Peltier module
using a vapor chamber and heat sink.
Inspired by Fluidized bed to more efficiently distribute
cold air

## Slide 3
Improved Efficiency
Schematic of a Vapor chamber
Application: Vapor chambers used in laptop
Heat sink
Vapor chamber
Peltier Module
Assumptions:
Perfect thermal contact
Effective Heat transfer coefficient of the vapor chamber is assumed to be 1,400 W/m2K. (Source)

## Slide 4
Improved Efficiency
Schematic of a Vapor chamber
Application: Vapor chambers used in laptop
Heat sink
Vapor chamber
Peltier Module
Assumptions:
Perfect thermal contact
Effective Heat transfer coefficient of the vapor chamber is assumed to be 1,400 W/m2K. (Source)

## Slide 5
Improved Efficiency
Schematic of a Vapor chamber
Application: Vapor chambers used in laptop
Heat sink
Vapor chamber
Peltier Module
Assumptions:
Perfect thermal contact
Effective Heat transfer coefficient of the vapor chamber is assumed to be 1,400 W/m2K. (Source)

## Slide 6
Improved Efficiency
Schematic of a Vapor chamber
Application: Vapor chambers used in laptop
Heat sink
Vapor chamber
Peltier Module
Assumptions:
Perfect thermal contact
Effective Heat transfer coefficient of the vapor chamber is assumed to be 1,400 W/m2K. (Source)
Hot-side Temp:
83.304oC 40.87oC
Cold-side Temp:
5oC -10oC

## Slide 7
Improved Efficiency
Uneven cold air distribution
Rises need to
Improved Design

## Slide 8
Improved Efficiency
Improved Design
This makes our improved design 33% efficient
Perforated chamber design: Inspired by Fluidized Bed

## Slide 9
Improved Efficiency
Improved Design
This makes our improved design 33% efficient
Perforated chamber design: Inspired by Fluidized Bed

## Slide 10
Future Works
Do a physical test to confirm ΔT at said operating hot-side temperature and update results.
Work on how to distribute the air in the perforated chamber.
Cooling Capacity, Energy Consumption, CO2 Emissions and Cost Analysis
Cooling Capacity:
Cooling Capacity= 0.013tons*
(* Cooling capacity can be changed by varying the voltage and current input to the Peltier module)
Energy Consumption:
Energy Input = 0.023 KWh
Energy Saved per year (when operating 13hrs a day for 300 days) = 20.7 KWh
CO2 Emissions:
CO2 emissions = KWh(Emission/KWh), where emission/KWh is the carbon intensity
Carbon Intensity in Arizona for the year 2021 = 694lb/MWh
For the improved design, CO2 emissions = 0.0147lb per device each year i.e., 30% reduced emissions when operating for 13hrs a day instead of 10hrs a day.
Cost Analysis:
The average electricity rate in phoenix is $0.14
The cost for the improved design is $294 which is $126 less per device per year than the original cost of operating.